Appendix: detailed overview of IIEP (syllabus)

# Basic information

| Course name | Metrology, sensors, and microgenerators in context of clean energy-based power systems |
| --- | --- |
| Coordinating faculty | W5 |
| Coordinator | dr inż. Krystian Krawczyk |

# Learning effects

| Qualification name | Learning effects |  | EQF level |  |
| --- | --- | --- | --- | --- |
| Knowledge |  |  |  |  |
| (1) Sensor selection and calibration with uncertain measurements in clean energy based power systems. |  | Characterizes topics in metrology of electric and nonelectric systems, interference in measurements and international norms for uncertain experimental data. |  | VI |
| (2) Analysis of dynamic microgeneration characteristics |  | - Characterizes the design and working principles, as well as selection criteria for sensors and microgenerators (piezo- and thermoelectric), as well as their uses in IoT, wearables and smart cities, with consideration of economic aspects. |  | VI |
| Abilities |  |  |  |  |
| (3) Interpretation of sensor and microgenerator data in clean energy based power systems. |  | - Interprets measurement data for clean energy based power systems. |  | VI |
| Social qualifications |  |  |  |  |

Course content

| Teaching content of the IIEP |  |  |
| --- | --- | --- |
| - Topic |  | - Time |
| 1. | Fundamentals of Metrology and Electrical Measurements. | 3 |
| 2. | Type A and Type B uncertainty, uncertainty of indirect measurements. | 3 |
| 3. | The influence of external factors and disturbances on measurement results. | 3 |
| 4. | The aspects of contact and non-contact temperature measurements. | 3 |
| 5. | Aspects of rotational speed, distance, and light intensity measurements. | 3 |
| 6. | Fundamentals of sensors and microgenerators in intelligent systems | 3 |
| 7. | Piezoelectric microgenerators – operating principles and applications | 3 |
| 8. | Thermoelectric microgenerators – operating principles and applications | 3 |
| 9. | Sensors in IoT Systems and wearable devices – design, parameters, and selection criteria | 3 |
| 10. | Technical and economic aspects of integrating transducers with existing power systems | 3 |
|  | Total teaching hours | 30 |

Teaching methods

Lecture, discussion, inverted class, case study

# Student worktime requirements

Contact hours: 30h

Own work: 5h

Total worktime requirement: 35h

ECTS points equivalent: 1

European Qualification Framework level: VI

# Verification method

Exam – multiple choice test online.

# Teaching material - references

Main positions

- Evaluation of measurement data — Guide to the expression of uncertainty in measurement, JCGM 100:2008(E), DOI: 10.59161/JCGM100-2008E

- Electrical Testing and Measurement Handbook Vol. 7,  ISBN-978-0-9782763-2-4, The Electricity Forum 2007

- Keithley, Low Level Measurements Handbook - 7th Edition, https://download.tek.com/document/LowLevelHandbook_7Ed.pdf

- Rafael Vargas-Bernal and Roberto Palma Guerrero , Novel Applications of Piezoelectric and Thermoelectric Materials, IntechOpen 2024, London https://link.springer.com/rwe/10.1007/978-981-95-2947-6_85

- Smart Sensor Technologies for IoT, Edited by Peter Brida Ondrej KrejcarAli Selamat, Attila Kertesz, 2021, MDPI

- https://mdpi-res.com/bookfiles/book/4577/Smart_Sensor_Technologies_for_IoT.pdf?v=1780880710

Additional positions

- Labfacility, Temperature handbook, www.labfacility.co.uk

- https://piezo.com/pages/piezo-education